## Summary_Information
Tester | Level | Ed2 GOOSE Performance | Ed2 Client | Ed2.0 Server | Ed2.0 SCL Tool | ED2.1 GOOSE Performance | Ed2.1 Server | ED2.1 Client | Ed2.1 ICT Tool | Ed2.1 SCT Tool | Contact Name | Contact email
Hitachi Energy (formerly ABB Switzerland Ltd.) | B | Y |  | Y |  | Y | Y |  |  |  | Stephan Gerspach | stephan.gerspach@HitachiEnergy.com
Central Power Research Institute India | A |  |  | Y | [6 empty] | Pradish M. Pillay | pradish@cpri.in
DNV Netherlands (formerly KEMA, DNV-KEMA) | A | Y | Y | Y | Y | Y | Y |  | Y |  | R. Schimmel | richard.schimmel@dnv.com
Taiwan Testing and Certification Center (formerly Electronics Testing Center, Taiwan) | A |  | Y | Y | [6 empty] | Samuel Lin | jslin@etc.org.tw
UK Grid Solutions Ltd. (formerly Alstom/Areva) | B |  | Y | Y | [6 empty] | Hua Qin | Sarah.qin@ge.com
Korea Electrotechnology Research Institute | A | Y | Y | Y | [6 empty] | Seongjeong Rim | rimsj@keri.re.kr
Xuchang KETOP Testing Research Institute Co., Ltd | A |  |  | Y | [6 empty] | Yin Qingwei | yinqingwei@ketop.cn
Korea Testing Laboratory | A | Y | Y | Y |  | Y | Y |  |  |  | Han Ah | ahhan@ktl.re.kr
NARI-RELAYS Electric Co. Ltd | B |  |  | Y | [6 empty] | Shaoqian Hu | husq@nari-relays.com
Schneider-Electric China | B | Y |  | Y | [6 empty] | Xiaohui Wang | Xiaohui.Wang@Schneider-Electric.com
State Grid Electric Power Research Institute | A |  |  | Y | [6 empty] | Mrs. Sun Dan | sundan@sgepri.sgcc.com.cn
Tecnalia | A |  |  | Y | [6 empty] | Marta Castro | marta.castro@tecnalia.com
TÜV Rheinland GmbH | A | [9 empty] | Dirk Reufsteck | dirk.reufsteck@de.tuv.com
TÜV SÜD China Ltd | A | Y | Y | Y | [6 empty] | Yifan Wang | Yifan.Wang@tuv-sud.cn
UL, Korea, Ltd | A |  |  | Y | [6 empty] | Jeehwan Han | JeeHwan.Han@ul.com
Electrical Research & Development Association | A |  |  | Y | [6 empty] | Vatsal Parmar | Vbparmar@erda.org
CESI S.p.A. – KEMA Labs | A |  |  | Y | [6 empty] | Riccardo Maria Seresini | riccardo.seresini@kema.com
POWERGRID Advanced Research and Technology | A |  |  | Y | [6 empty] | Yashwant Kodali | Yashwant.k@powergrid.in
Note: ABB Ed1 Sampled Value was NOT previously shown on UCAIug website
http://www.ucaiug.org/org/TechnicalO/Testing/UCAIug%20Testing%20Quality%20Assurance%20Program/UCAIug%20IEC%2061850%20Approved%20Testers

## Revision History
Revision History
Date | Revision | Who | Changes
2024-01-23 | 71 | HSF | Added Revision Control Tab Removed Edition 1 Lab Information from Summary Tab Fixed missing information Added TuV China Edition 2.1 Server
2024-02-05 | 72 | HSF | Removed AMA - no longer a corporate entity Updated GE from 9001 to 17025

## Ed2.0 Server_GSE_SV_GOOSE-Perf
Approved Testers and Conformance Blocks
| Basic Exchange | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports | Not Applicable | Logging | GSSE | GOOSE Publish | GOOSE Subscribe | GSE Management | Sampled Value 9.1 | 9-2LE Publish | 9-2LE Subscribe | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync | File Transfer | Tracking | Goose Performance
Tester/Blocks | 1 | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 | 6+ | 7 | 8 | 9a | 9b | 9c | 10 | 11a | 11b | 12a | 12b | 12c | 12d | 13 | 14 | 15 | GP | Level | ISO
Hitachi Energy (formerly ABB Switzerland Ltd.) | Y | Y | - | Y | - | - | Y | Y | - | - | - | Y | Y | - | - | - | - | - | - | - | - | Y | - | - | Y | B | 9001
AMA-CERT-Lab GmbH | Y | Y | Y | - | - | - | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | - | - | - | Y | Y | - | - | A | 9001
Central Power Research Institute India | Y | Y | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y |  | A | 9001
DNV Netherlands (formerly KEMA, DNV-KEMA) | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y | Y | A | 9001
Taiwan Testing and Certification Center (formerly Electronics Testing Center, Taiwan) | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y | - | A | 17025
UK Grid Solutions Ltd. (formerly Alstom/Areva) | Y | Y | - | - | Y | - | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | B | 17025
Korea Electrotechnology Research Institute | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y | Y | A | 17025
Xuchang KETOP Testing Research Institute Co., Ltd | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | - |  | A | 17025
Korea Testing Laboratory | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y | Y | A | 17025
NARI-RELAYS Electric Co. Ltd | Y | Y | - | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y |  | B | 9001
Schneider-Electric China | Y | Y | Y | - | Y | - | Y | Y | - | Y | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | - | Y | B | 9001
State Grid Electric Power Research Institute | Y | Y | - | Y | Y | Y | Y | Y | - |  |  | Y | Y | - | - | - | - | Y | - | - | Y | Y | Y | Y | - | A | 17025
Tecnalia | Y | Y | Y | Y | Y | Y | Y | Y | - | Y |  | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | y | - | A | 17025
TÜV SÜD China Ltd | Y | Y | Y | Y | Y | Y | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y | Y | A | 17025
UL, Korea, Ltd | Y | Y | Y |  | Y | - | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | A | 17025
Electrical Research & Development Association | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y | Y |  | A | 17025
CESI S.p.A. – KEMA Labs | Y | Y | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y | Y |  | A | 9001
POWERGRID Advanced Research and Technology | Y | Y | Y | Y | Y | Y | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  |  |  | 17025
Note on C2: Read-Only
Note on F2: Enter a clear and unambiguous description of the problem.
Note on H2: Press Ctrl+; to automatically enter today's date
Note on I2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on M2: Read-Only
Note on P2: Enter a clear and unambiguous description of the problem.
Note on S2: Press Ctrl+; to automatically enter today's date
Note on T2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark

## Ed2.0 Client
Approved Testers and Conformance Blocks
| Basic Exchange | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports | Not Applicable | Logging | GSSE | GOOSE Control |  |  |  |  | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync | File Transfer | Tracking | Not Applicable
Tester/Blocks | 1 | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 |  | 7 | 8 | 9 |  |  |  |  | 12a | 12b | 12c | 12d | 13 | 14 | 15 | GP | Level | ISO
DNV Netherlands (formerly KEMA, DNV-KEMA) | [9 empty] | - | - | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | Y |  | A | 9001 | bar: 1 to 6
Taiwan Testing and Certification Center (formerly Electronics Testing Center, Taiwan) | [11 empty] | Y |  |  |  |  | Y | Y | Y | Y |  | Y | bar: 1 to 2; 5
Korea Electrotechnology Research Institute | [11 empty] | Y |  |  |  |  | Y | Y | Y | Y | Y | Y | Y |  | A | 17025 | bar: 1 to 6
Korea Testing Laboratory | [11 empty] | Y |  |  |  |  | Y | Y | Y | Y | Y | Y | Y |  | A | 17025 | bar: 1 to 2+; 4 to 6
TÜV SÜD China Ltd | [9 empty] | Y |  | Y |  |  |  |  | Y | Y | Y | Y | Y | Y | Y |  | A | 17025 | bar: 1 to 6
UK Grid Solutions Ltd. (formerly Alstom/Areva) | [16 empty] | Y | Y | Y | Y | Y | Y |  |  | B | 9001 | bar: 1 to 2+; 5 to 6
Note on C2: Read-Only
Note on F2: Enter a clear and unambiguous description of the problem.
Note on H2: Press Ctrl+; to automatically enter today's date
Note on I2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on M2: Read-Only
Note on P2: Enter a clear and unambiguous description of the problem.
Note on R2: Press Ctrl+; to automatically enter today's date
Note on S2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark

## ED2.0 SErver
Approved Testers and Conformance Blocks
| Basic Exchange | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports | Tissue 453 | Logging | GSSE | GOOSE Publish | GOOSE Subscribe | GSE Management | Sampled Value 9.1 | 9-2LE Publish | 9-2LE Subscribe | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync | File Transfer | Not Applicable | Goose Performance
Tester/Blocks | 1 | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 | 6+ | 7 | 8 | 9a | 9b | 9c | 10 | 11a | 11b | 12a | 12b | 12c | 12d | 13 | 14 | 15 | GP | Level | ISO
Hitachi Energy (formerly ABB Switzerland Ltd.) | Y | Y |  | Y |  |  | Y | Y |  |  |  | Y | Y | [8 empty] | Y |  |  |  | B | 9001
AMA-CERT-Lab GmbH | [25 empty] | A | 9001
Central Power Research Institute India | [25 empty] | A | 9001
DNV Netherlands (formerly KEMA, DNV-KEMA) | Y | Y |  |  | Y |  | Y | Y | Y |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y |  | Y | A | 9001
UK Grid Solutions Ltd. (formerly Alstom/Areva) | [25 empty] | B | 9001
Korea Electrotechnology Research Institute | [25 empty] | A | 17025
Xuchang KETOP Testing Research Institute Co., Ltd | [25 empty] | A | 17025
Korea Testing Laboratory | [25 empty] | A | 17025
NARI-RELAYS Electric Co. Ltd | [25 empty] | B | 9001
Schneider-Electric China | [25 empty] | B | 9001
TÜV Rheinland GmbH | [25 empty] | A | 9001
TÜV SÜD China Ltd | [25 empty] | A | 17025
CESI S.p.A. – KEMA Labs | Y | Y | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | y | y | Y |  | A | ISO 9001
Note on C2: Read-Only
Note on F2: Enter a clear and unambiguous description of the problem.
Note on H2: Press Ctrl+; to automatically enter today's date
Note on I2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on M2: Read-Only
Note on P2: Enter a clear and unambiguous description of the problem.
Note on S2: Press Ctrl+; to automatically enter today's date
Note on T2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark

## Ed2.0 SCL
Approved Testers and Conformance Blocks
| ICT TOOL | ICD | ICD Export | SCD Import | IID Export | Tool Functionality | SCT TOOL | ICD & IID import and usage | Communication Engineering | Data Flow Engineering | Substation Section | SCD Modification | SCD Export | SCD Import | SED Handling
Tester/Blocks |  | 21 | 12 | 22 | 23 | 24 |  | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | Level | ISO
DNV Netherlands (formerly KEMA, DNV-KEMA) |  | Y | Y | Y | Y | Y | [9 empty] | A | 9001 | bar: 31 to 38
Note on D2: Read-Only
Note on G2: Enter a clear and unambiguous description of the problem.
Note on K2: Press Ctrl+; to automatically enter today's date
Note on L2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on P2: Read-Only

## ED2.1 Server
Approved Testers and Conformance Blocks
| Basic Exchange | 1b: IPv6 | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports | Logging | GSSE | GOOSE Publish | GOOSE Subscribe | GSE Management | Sampled Value 9.1 | 61869-9 Publish | 61869-9Subscribe | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync:SNTP | Time Sync:PTP | File Transfer | Service Tracking | Goose Performance
Tester/Blocks | 1 |  | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 | 7 | 8 | 9a | 9b | 9c | 10 | 11a | 11b | 12a | 12b | 12c | 12d | 13a | 13b | 14 | 15 | GP | Level | ISO
Hitachi Energy (formerly ABB Switzerland Ltd.) | Y |  | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y |  |  |  | Y | Y | Y | Y | Y | Y |  | Y | Y |  | B | 9001
AMA-CERT-Lab GmbH | [26 empty] | A | 9001
Central Power Research Institute India | [26 empty] | A | 9001
DNV Netherlands (formerly KEMA, DNV-KEMA) | Y |  | Y |  |  | Y |  | Y | Y |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y |  | Y |  | Y | A | 9001
Taiwan Testing and Certification Center (formerly Electronics Testing Center, Taiwan) | Y |  | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y |  | Y | Y
UK Grid Solutions Ltd. (formerly Alstom/Areva) | [26 empty] | B | 9001
Korea Electrotechnology Research Institute | [26 empty] | A | 17025
Xuchang KETOP Testing Research Institute Co., Ltd | [26 empty] | A | 17025
Korea Testing Laboratory | Y |  | Y | Y |  | Y |  | Y | Y |  |  | Y | Y |  |  | Y |  | Y |  |  | Y | Y |  | Y | Y |  | A | 17025
NARI-RELAYS Electric Co. Ltd | [26 empty] | B | 9001
Schneider-Electric China | [26 empty] | B | 9001
TÜV Rheinland GmbH | [26 empty] | A | 9001
TÜV SÜD China Ltd | Y |  | Y | Y | Y | Y | Y | Y | Y |  |  | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y |  | Y | Y |  | A | 17025
CESI S.p.A. – KEMA Labs
POWERGRID Advanced Research and Technology
Note on D2: Read-Only
Note on G2: Enter a clear and unambiguous description of the problem.
Note on I2: Press Ctrl+; to automatically enter today's date
Note on J2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on M2: Read-Only
Note on P2: Enter a clear and unambiguous description of the problem.
Note on S2: Press Ctrl+; to automatically enter today's date
Note on T2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark

## ED2.1 ICT
Approved Testers and Conformance Blocks
| ICT TOOL | ICD | ICD Export | SCD Import | IID Export | Tool Functionality | SCT TOOL | ICD & IID import and usage | Communication Engineering | Data Flow Engineering | Substation Section | SCD Modification | SCD Export | SCD Import | SED Handling
Tester/Blocks |  | 21 | 12 | 22 | 23 | 24 |  | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | Level | ISO
DNV Netherlands (formerly KEMA, DNV-KEMA) |  | Y | Y | Y | Y | Y | [9 empty] | A | 9001
Note on D2: Read-Only
Note on G2: Enter a clear and unambiguous description of the problem.
Note on K2: Press Ctrl+; to automatically enter today's date
Note on L2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on P2: Read-Only

## Ed1 Server_GOOSE_SV_GOOSE-Perf.
Approved Testers and Conformance Blocks
| Basic Exchange | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports | Tissue 453 | Logging | GSSE | GOOSE Publish | GOOSE Subscribe | GSE Management | Sampled Value 9.1 | 9-2LE Publish | 9-2LE Subscribe | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync | File Transfer | Not Applicable | Goose Performance
Tester/Blocks | 1 | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 | 6+ | 7 | 8 | 9a | 9b | 9c | 10 | 11a | 11b | 12a | 12b | 12c | 12d | 13 | 14 | 15 | GP | Level | ISO
Hitachi Energy (formerly ABB Switzerland Ltd.) | Y | Y |  | Y | Y | Y | Y | Y |  | Y |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y |  | Y | B | 9001
AMA-CERT-Lab GmbH | Y | Y | Y |  |  |  | Y | Y |  |  |  | Y | Y |  |  |  |  | Y |  |  | Y | Y | Y |  |  | A | 9001
Central Power Research Institute India | Y | Y | Y | Y | Y |  | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  |  | A | 9001
DNV Netherlands (formerly KEMA, DNV-KEMA) | Y | Y |  |  | Y |  | Y | Y | Y |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y |  | Y | A | 9001
UK Grid Solutions Ltd. (formerly Alstom/Areva) | Y | Y |  |  | Y |  | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  |  | B | 9001
Korea Electrotechnology Research Institute | Y | Y | Y |  | Y | Y | Y | Y |  |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y |  | Y | A | 17025
Xuchang KETOP Testing Research Institute Co., Ltd | Y | Y | Y | Y | Y | Y | Y | Y |  |  |  | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y |  |  | A | 17025
Korea Testing Laboratory | Y | Y | Y | Y | Y | - | Y | Y | - | - | - | Y | Y | - | - | Y | - | Y | Y | Y | Y | Y | Y | - | Y | A | 17025
NARI-RELAYS Electric Co. Ltd | Y | Y |  | Y | Y |  | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  |  | B | 9001
Schneider-Electric China | Y | Y |  |  | Y |  | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  | Y | B | 9001
TÜV Rheinland GmbH | Y | Y | Y | Y | Y | - | Y | Y | - | - | - | Y | Y | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | A | 9001
TÜV SÜD China Ltd | Y | Y | Y | Y | Y | Y | Y | Y |  |  |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  | Y | A | 17025
Electrical Research & Development Association | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y |  |  |  |  | Y | Y | Y | Y | Y | Y |  |  | A | 17065
Note on C2: Read-Only
Note on F2: Enter a clear and unambiguous description of the problem.
Note on H2: Press Ctrl+; to automatically enter today's date
Note on I2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on M2: Read-Only
Note on P2: Enter a clear and unambiguous description of the problem.
Note on S2: Press Ctrl+; to automatically enter today's date
Note on T2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark

## Ed1 Client
Approved Testers and Conformance Blocks
| Basic Exchange | Data Sets | Dset definition | Substitution | Setting Group | SG Definition | Unbuf Repports | Buffered Reports |  | Logging | GSSE | [5 empty] | DOns Controls | SBOns Controls | DOes Controls | SBOes Controls | Time Sync | File Transfer | Not Applicable | Not Applicable
Tester/Blocks | 1 | 2 | 2+ | 3 | 4 | 4+ | 5 | 6 |  | 7 | 8 | [5 empty] | 12a | 12b | 12c | 12d | 13 | 14 | 15 | GP | Level | ISO
DNV Netherlands (formerly KEMA, DNV-KEMA) | [8 empty] | - | - | - | - | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | A | 9001 | bar: 1 to 6
Korea Electrotechnology Research Institute | [8 empty] | - | - | - | - | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | A | 17025 | bar: 1 to 6
Korea Testing Laboratory | [8 empty] | - | - | - | - | - | - | - | - | Y | Y | Y | Y | Y | Y | - | - | A | 17025 | bar: 1 to 6
Note on C2: Read-Only
Note on F2: Enter a clear and unambiguous description of the problem.
Note on H2: Press Ctrl+; to automatically enter today's date
Note on I2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark
Note on P2: Enter a clear and unambiguous description of the problem.
Note on R2: Press Ctrl+; to automatically enter today's date
Note on S2: Use the dropdownlist to select one of the following allowed values: Editorial Techincal Remark